## Resolv4K Selection Tool
Select options A through F within the Resolv Selection Wizard on left. System information will change accordingly in the Size and Specifications tables.
| Resolv Selection Wizard | System Size
| SELECT CAMERA MOUNT | A | Mount Length | 9.54 | mm
|  | B | Rear Adapter Length | 62.5 | mm
| A | C | Interface 1 Length | 0 | mm
| SELECT RAER ADAPTER (Sensor Size) | D | Zoom Length | 130.3 | mm
|  | E | Interface 2 Length | 46.5 | mm
| B | F | Lens Attachment Length | 44.28 | mm
| SELECT UPPER INTERFACE (Optional) | G | Total Length of Lens | 293.12 | mm
|  | H | Object Distance (WD) | 90 | mm
| C | I | Image Distance | 45.46 | mm
| SELECT CORE (Zoom/Fixed) | J | Total System Length | 428.58 | mm
| D | System Specifications
| SELECT LOWER INTERFACE (Required) | Pixel Resolution (µm) |  | Low | 3.26
|  |  |  | High | 7.95
| E | Magnification |  | Low | 0.64
| SELECT LENS ATTACHMENT |  |  | High | 4.5
|  | FOV (mm) |  | Low | 25
| F |  |  | High | 3.5556
|  | NA |  | Low | 0.033
|  |  |  | High | 0.095
|  | Resolve Limit (µm) |  | Low | 10.21
|  |  |  | High | 3.53
|  | Depth of Field (mm) |  | Low | 0.46
|  |  |  | High | 0.055

## Sheet2 (hidden)
Cores
Zoom | Zoom_Shoulder
1-80100 - ZOOM, MANUAL, RESOLV4K AFOCAL | 130.3 |  | 0.64 | 4.5
1-80100D - ZM, MANUAL, RESOLV4K AFOC, DETENT | 130.3 |  | 1.6
1-80200 - ZOOM, MTR, RESOLV4K AFOCAL - 2Φ | 130.3
1-80300 - ZOOM, MTR, RESOLV4K AFOCAL - ENC | 130.3
1-80500 -ZOOM, MTR, RESOLV4K AFOCAL - 5Φ | 130.3
1-80800 - FIXED, RESOLV4K | 47.4
Adapters | [5 empty] | Fixed
Rear Adapters | RA_Shoulder | Pixel Resolution |  | RA Mag | Sensor Size | Pixel Resolution
|  | RA Res Low | RA Res High |  |  | RA Res Fixed
1-81101 - 0.6875X, (2/3") REAR ADAPTER | 40 | 2.24 | 5.47 | 0.6875 | 11 | 1.85
1-81102 - 1X, (1") REAR ADAPTER | 62.5 | 3.26 | 7.95 | 1 | 16 | 2.68
1-81103 - 1.375X, (4/3") REAR ADAPTER | 97.5 | 4.48 | 10.93 | 1.375 | 22 | 3.69
1-81104 - 2X, (32mm APS) REAR ADAPTER | 137.5 | 6.51 | 15.9 | 2 | 32 | 5.37
Attachments | [9 empty] | Fixed
Lens Attachments | LA_Shoulder | WD | NA |  | Resolve Limit (µm) |  | Depth of Field (mm) |  | LA Mag | NA Fixed | DOF Fixed | Resolve Limit Fixed
|  |  | NA Low | NA High | Resolve Limit Low | Resolve Limit High | DOF Low | DOF High
N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1-81201 - 0.25X LENS ATTACHMENT | 44.02 | 359.5 | 0.008 | 0.024 | 40.85 | 14.13 | 7.41 | 0.089 | 0.25 | 0.025 | 0.88 | 13.42
1-81202 - 0.5X LENS ATTACHMENT | 38.6 | 173 | 0.016 | 0.048 | 20.43 | 7.06 | 1.85 | 0.22 | 0.5 | 0.05 | 0.22 | 6.71
1-81203 - 0.75X LENS ATTACHMENT | 37.86 | 110 | 0.025 | 0.071 | 13.62 | 4.71 | 0.82 | 0.1 | 0.75 | 0.075 | 0.978 | 4.47
1-81204 - 1X LENS ATTACHMENT | 44.28 | 90 | 0.033 | 0.095 | 10.21 | 3.53 | 0.46 | 0.055 | 1 | 0.1 | 0.055 | 3.36
1-81205 - 1.25X LENS ATTACHMENT | 44.36 | 72 | 0.041 | 0.119 | 8.17 | 2.83 | 0.3 | 0.035 | 1.25 | 0.125 | 0.0352 | 2.68
1-81206 - 1.5X LENS ATTACHMENT | 64 | 46.5 | 0.049 | 0.142 | 6.81 | 2.35 | 0.206 | 0.025 | 1.5 | 0.15 | 0.0244 | 2.24
Interface
Lower Interface | Interface_Shoulder 2 | Upper Interface | Interface_Shoulder 1
N/A | 0 | N/A | 0
1-81300 - FIXED LOWER INTERFACE | 26.5 | 1-81302 - FOLD, INTERFACE | 54
1-81301 - RESOLV, COAX PORT | 46.5 | 1-81314 - RESOLV, IRIS INTERFACE | 16.9
1-81302 - FOLD, INTERFACE | 54
1-81303 | 0
1-81304 | 0
1-81305 - RESOLV, UZ INTERFACE M26-36T | 5.6
1-81306 | 0
1-81314 - RESOLV, IRIS INTERFACE | 16.9
Mounts
Mounts | Mount_Shoulder | 4 | 1-55281 - M42x1 Mount |  | Mount
N/A | 0 | 2 | 1-81102 - 1X, (1") REAR ADAPTER |  | RA
3-62923 - F-mount | 8.5 | 1 | N/A |  | Upper Interface
3-63266 - C-Mount | 37.48 | 1 | 1-80100 - ZOOM, MANUAL, RESOLV4K AFOCAL |  | Zoom
1-55281 - M42x1 Mount | 9.54 | 3 | 1-81301 - RESOLV, COAX PORT |  | Lower Interface
|  | 5 | 1-81204 - 1X LENS ATTACHMENT |  | LA

## _SSC (hidden)
_Ctrl_1 | {"WidgetClassification":0,"State":1,"IsRequired":false,"DDLDefaultRequiredText":"Please Select","ListItem":"1-55281 M42x1 Mount","VlookupRange":"","ShowListLabel":false,"ShowDt":true,"CellName":"_Ctrl_1","CellAddress":"='Resolv4K Selection Tool'!$Q$12","WidgetName":3,"HiddenRow":1,"SheetCodeName":null,"ControlId":"CameraMount","wcb":0} | {"IsHide":false,"HiddenInExcel":false,"SheetId":-1,"Name":"Resolv4K Selection Tool","Guid":"MA6ZE0","Index":1,"VisibleRange":"","SheetTheme":{"TabColor":"","BodyColor":"","BodyImage":""}} | {"InputDetection":0,"RecalcMode":0,"Layout":0,"LayoutSamePagesHeightEnabled":false,"Theme":{"BgColor":"#FFFFFFFF","BgImage":"","InputBorderStyle":2,"AppliedTheme":""},"SmartphoneSettings":{"ViewportLock":true,"UseOldViewEngine":false,"EnableZoom":false,"EnableSwipe":false,"HideToolbar":false,"InheritBackgroundColor":false,"CheckboxFlavor":1,"ShowBubble":false},"Name":"","Flavor":9,"Edition":0,"CopyProtect":{"IsEnabled":false,"DomainName":""},"HideSscPoweredlogo":false,"AspnetConfig":{"BrowseUrl":"http://localhost/ssc","FileExtension":0},"NodeSecureLoginEnabled":false,"SmartphoneTheme":1,"Toolbar":{"Position":1,"IsSubmit":true,"IsPrint":true,"IsPrintAll":false,"IsReset":true,"IsUpdate":true},"ConfigureSubmit":{"IsShowCaptcha":false,"IsUseSscWebServer":true,"ReceiverCode":"","IsFreeService":false,"IsAdvanceService":false,"IsSecureEmail":false,"IsDemonstrationService":true,"AfterSuccessfulSubmit":"","AfterFailSubmit":"","AfterCancelWizard":"","IsUseOwnWebServer":false,"OwnWebServerURL":"","OwnWebServerTarget":"","SubmitTarget":0},"IgnoreBgInputCell":false,"ButtonStyle":0,"ResponsiveDesignDisabled":false,"HideLookupRange":false,"BrowserStorageEnabled":false,"RealtimeSyncEnabled":true,"GoogleAnalyticsTrackingId":"","GoogleApiKey":"","ChartSelected":3,"ChartYAxisFixed":false} | {"BrowserAndLocation":{"ConversionPath":"C:\\Users\\BLOCK.PPD\\Documents\\SpreadsheetConverter","SelectedBrowsers":[]},"SpreadsheetServer":{"Username":"","Password":"","ServerUrl":""},"ConfigureSubmitDefault":{"Email":"","Free":false,"Advanced":false,"AdvancedSecured":false,"Demo":true},"MessageBubble":{"Close":false,"TopMsg":0},"CustomizeTheme":{"Theme":""},"QrSetting":{"ShowOnConversion":true},"CongratsPage":{"LastOpenedVersion":""},"WordPressPluginSetting":{"IsPluginInstalled":false},"Preferences":{"IsAdvancedSettingModelInitialize":true,"IsCaptchaInitialize":true,"IsNodeSettingInitialize":false,"IsRequiredFieldModalInitialize":true,"IsSubmitDialogModelInitialize":true,"IsToolbarButtonModelInitialize":true,"IsWizardButtonModelInitialize":true,"ReadFromHidden":false,"AdvancedSetting":null,"NodeSetting":{"LoginText":{"LoginButtonText":"Login","PageDescription":"Restricted access only","LoginErrorMessage":"Authentication failed, please check your username and password.","PlaceholderPassword":"password","PlaceholderUsername":"username / email","UserExtraMessage":""}},"Captcha":{"Heading":"Enter the number displayed below.","Message":"This is to verify that you are a human visitor, to prevent automated form submissions.","OkButton":"OK","CancelButton":"Cancel","ErrorMessage":"Your answer is incorrect, please try again."},"RequiredField":{"ErrorMessage":"The fields with the red border are required or invalid.","OkButton":"OK","DDLDefaultRequiredText":"Please Select"},"WizardButton":{"Next":"Next","Previous":"Previous","Cancel":"Cancel","Finish":"Finish"},"ToolbarButton":{"Submit":"Submit","Print":"Print","PrintAll":"Print All","Reset":"Reset","Update":"Update","Back":"Back"},"SubmitDialog":{"SubmitDialogHeading":"Submit Successful.","SubmitDialogDesc":"The form was successfully submitted.","BeforeSubmitDesc":"The form is being submitted.","OfflineHeading":"Save until online","OfflineDesc":"You are currently offline and the submit failed. Do you want to save the submit and send it later when you are online.","OfflineConfirm":"Do you want to save?","OfflineSubmitHeading":"Offline forms submit confirmation","OfflineSubmitDesc":"There are Offline form(s), which are now ready to submit in server.","OfflineSubmitConfirm":"Do you want to submit?","FailOfflineHeading":"Offline Form submit failed","FailOfflineDesc":"Unable to connect to the Internet. Please try submitting the offline forms later in internet connection.","OfflineSubmitWait":"It may take sometime to finish all submits depending on the size of offline forms and internet connection.","OfflineSubmitWaitCounter":"Left","OfflineSubmitError":"Submit error: Please try later."}},"UxPreferences":null}
{"IsHide":true,"HiddenInExcel":true,"SheetId":-1,"Name":"Sheet2","Guid":"QQREIQ","Index":2,"VisibleRange":"","SheetTheme":{"TabColor":"","BodyColor":"","BodyImage":""}}

## _Options (hidden)
1-55281 M42x1 Mount | 1-55281 M42x1 Mount